## Slide 1: Reliability and Resilience in the Balance Beyond Storms Infrastructure Network Resilience Committee

## Slide 2
Reliability: having access to electricity that you need, when you need it
  It is binary: like a switch - it either works or it doesn’t
  Increasing electrification increases the need for reliability and resilience
Resilience: equivalent to a backstop for reliability – measure of the robustness of the system to absorb shocks and either continue to operate or, if it fails, how quickly it recovers and operates again.
  Requires physically stronger infrastructure configurations and institutional resourcefulness to adapt and respond to challenges
The Market expects both reliability and resilience
Notes: Understanding some key terms
Reliability
Resilience
Our focus was NOT to choose sides, but rather to ID the issues impacting reliability and resilience and recommendations for improvement

## Slide 3
ERCOT was dangerously close (~4 ½ minutes) to a complete failure of the grid
The consequences of such a failure are without precedence
  Weeks or months to restore the grid – human and economic costs + Complications of interdependence: gas supply reliant on electricity…
The grid must rely on 13 primary and 15 secondary black start generators (28) serving as the system fail-safe to “restart” the grid after a failure.
But there is a problem with the “Fail Safe”
9 of 13 primary generators experienced an outage during Uri and Viola (69%)
12 of 15 secondary generators experienced forced outages during the EEA (80%)
18 of 28 units rely on natural gas as a single fuel source (64%)
This means that > 75% of the most critical generation to avoid black start conditions failed to operate reliably on any industry performance metric scale
Why did these critical units experience these problems?
Revenue insufficiency led to underinvestment in operational reliability
Interdependence mitigation: failure to install & maintain dual fuel capability and firm fuel supply
The consequences of this failure are over whelming and the risk is not going away
Black start generators
Notes: A natural gas consumer buys two services: 1) transportation and 2) supply
Both can be bought on a firm or on an interruptible basis
  Firm costs more
  A majority of electric generators in Texas relied on either interruptible transportation or interruptible supply or both
    If you are buying “interruptible” supply or transport why would you be surprised when you’re interrupted during an extreme weather event?
None of this is an excuse for the natural gas industry
winterization of production facilities
Curtailment for cheaper rates or failure to file CLF
Arrange contracts to interrupt LNG, for an agreed upon price, for needle peak needs
It causes great concern if the electric industry expects the Gas industry to subsidize higher quality service to the electric industry – this would result in deteriorating the gas industry reliability

## Slide 4
Reviewed 6 major storms since 1940
TWO FACTORS: TMin and TMax were most critical in storms Uri & Viola
Winter storm Uri was an extreme weather event and severe winter weather patterns in Texas appear to be relatively consistent
The major reliability failures exposed by Winter Storm Uri extend beyond winter weather events
Focusing too much on “the storm” may lead to justification of NOT dealing with the problems that the storm uncovered when in reality they WILL happen again
The revelation: The storms were a catalyst that exposed major reliability failures beyond the storm itself
Weather - continued
Notes: Meet the Creep of interdependence
What is it? One sector is reliant on another sector for its reliability and resilience
How does it impact
How to understand and manage the risk
Good example: it was understood fairly broadly that the electric industry was interdependent on the natural gas industry
But what was largely ignored was that the interdependency went both ways
  It was both explicit and “creepy”
    Creep is created from a series of small decisions – decisions that individually do not rise to be systemic issues on their own, but when 100’s and 1000’s of these decisions are made, a syst6emic issue is created
Revenue insufficiency makes it worse

## Slide 5
Energy Only Market –kwh (kilowatt hour) pricing based solely on delivered power.
Capacity Market – kwh pricing based on estimated capacity required for all demand conditions of the grid.
Dispatchable Generation – power generation with fuel source that can be turned on and off as required (natural gas fired, coal fired, nuclear, hydroelectric).
Non-Dispatchable Generation – power generation with fuel source that cannot be turned on and off as required (wind, solar).
Black Start – situation that occurs when power grid completely fails and must be restarted piecemeal in order to balance the demand vs. supply.
Terminology

## Slide 6
Storm Related Deaths – 246 persons (as of January 2022)
  Most victims died of hypothermia (Harris County – 43, Dallas and Travis County – 20 ea).
  Vehicle crashes, carbon monoxide poisoning, and chronic medical conditions complicated by the winter storm were other major causes of death.
24 million Texans lost power for 42 hours or more
49% of Texans lost access to potable water for two or more days
71% of Texans lost Internet Service
Impacts (Uri and Viola)

## Slide 7: Financial statistics – the cost of failing to change
~ $200-300+ billion in economic impacts
> $50B in disputes and climbing
Bankruptcies & securitizations

## Slide 8
Electricity
  Before Winter Storm Uri - $0.1098/kWh average residential price = $1,542 / year
  Before Winter Storm Uri - $22.00/MWh average Co-Op and Distribution price
  During Winter Storm Uri – $ 9.00/kWh residential price
  During Winter Storm Uri - $9,000/MWh Co-Op and Distribution price
Natural Gas
  Before Winter Storm Uri - $ 3.09/Mcf (thousand cubic feet) residential market
  Before Winter Storm Uri - $ 2.79/Mcf electrical power generation market
  During Winter Storm Uri - $ 9.04/Mcf residential market
  During Winter Storm Uri - $56.54/Mcf electrical power generation market
Energy Commodity Pricing

## Slide 9
What Happened on February 15, 2021

## Slide 10
Natural Gas “Freeze-Off” and Interruption due to Power Loss

## Slide 12
Three primary project phases - Big Picture
Two parts
Understanding the foundation - Level set
Timeline: what & when
relative priorities:
sector & network – the WHY Root Cause(s),
People-Process-Assets & lessons learned
Stakeholder review, supporting docs, exec summary & final report
Phase 2
Phase 3
Phase 1
How does each SECTOR work “normally” and how do the sectors overlap?
What are the legacy design considerations?
Prior to 2020-12-1
(12/1 to 1/31)
Warning to storm event 2/1 thru 2/17
Storm recovery & restoration
Test of resilience 02/18+
Team formed during height of Storm
Ultimately ~ 25 ASCE members from across the state and supported by ASCE Texas Section
3 reports issued: PUCT: filed 9-2021, Executive report: 1-21-2022, and Full report: 2-16-2022
Pre-winter
Winter
Pre-storm
The Storm
Post Storm
Snapshot of project scope
Notes: During the height of the storm
ASCE members began to informally share information about the storm and its impacts.
This grew into a formal team of ~25 engineers from across the State of Texas
The team broke the project into 3 primary phases
  Level setting – how are things supposed to work in each area
    Includes the basic timeline of events
    Breaks the time frame into 4 periods
      Time prior to winter
      Start of winter
      Storm
      Post storm
3 reports: PUCT, Executive summary and full report

## Slide 13
We began our assessment of physical infrastructure to try to answer the fundamental question:
      Is it “fit for purpose” in how it is being used today?
BUT…We can’t answer the question without knowing how these elements collaborated to create a window of opportunity for catastrophic failure:
  Asset design criteria and maintenance requirements is where we start
  Rules and regulations create both positive and negative consequences that directly and indirectly impact reliability and resilience
  People (including culture) and process issues contributed to both positive and negative consequences
Revenue insufficiency – failing to adequately fund ongoing reliability and maintenance is a chronic problem impacting EVERY infrastructure sector. Failing to adequately fund revenue requirements is an explicit decision to pursue a “Run to failure” strategy
This is not a sustainable approach.
Physical
Infrastructure
Physical world
& digital twin
Regs & Rules
Regulators
& politicians
The rules of
the road & sheriff
The Market
Buyers & sellers
The users (people & processes) of the Infrastructure system
“3 legs of the stool”
Do these three legs complement each other or do they lead to an uneven and unreliable stool?
Energy Market stool
Fit for Purpose
Notes: Fit for purpose:
We usually think about the physical asset
But we need to understand broader issues:
  The rules and regulations
  People and processes
Revenue sufficiency is a term that describes having sufficient revenue (capital) to cover all fixed an variable costs to operate and maintain the infrastructure.
When you don’t - you have “revenue insufficiency” .
If you have revenue insufficiency the end result is you’re not able proactively managing O&M, you’re not able to make reliability investments…and you end up knowing or unknowingly, pursuing a run to failure strategy.

## Slide 14
Meet the CREEP: Base findings and working assumptions of Network interdependence
Interdependence occurs when the operation of one sector is dependent upon the performance of another sector.
  The dependence can be 1 or 2 way. Ex: water (1-way), electricity & natural gas (2-way)
  Explicit = known and from “…a relentless creep” of small decisions that build to systemic
Growing interdependence between sectors negatively impacts reliability of both sectors.
  It increases the potential & frequency of cascading failures
  Frequency of impactful events will increase even if weather consistent w/ historic patterns
The Risk of interdependence = Activity + Reliance – Mitigation
The level of activity of the Sector + reliance between the sectors, offset by the level of reliance mitigation (back-up power, alt fuel, etc.).
Proactive steps must be taken to mitigate interdependence and reduces risk
Made worse & frequently overlooked with revenue insufficiency: no time or $
Network Interdependence
Notes: Meet the Creep of interdependence
What is it? One sector is reliant on another sector for its reliability and resilience
How does it impact
How to understand and manage the risk
Good example: it was understood fairly broadly that the electric industry was interdependent on the natural gas industry
But what was largely ignored was that the interdependency went both ways
  It was both explicit and “creepy”
    Creep is created from a series of small decisions – decisions that individually do not rise to be systemic issues on their own, but when 100’s and 1000’s of these decisions are made, a syst6emic issue is created
Revenue insufficiency makes it worse

## Slide 15
The obvious: The Uri and Viola weather systems created an extreme winter weather event
We focus on severity in 4 dimensions:
TMax: The # of days temperature is < 320F for an entire 24-hour period (TMax).
TMin: The # of days on both sides of TMax, when minimum temperatures for at least 1 hour during the 24-hour period were < 320F (TMin).
Precipitation: Especially freezing precipitation, leads to physical damage
Wind: Damage impacts from wind chill accelerating cooling or physical damage – compounded when combined with freezing precipitation.
Weather
Notes: Meet the Creep of interdependence
What is it? One sector is reliant on another sector for its reliability and resilience
How does it impact
How to understand and manage the risk
Good example: it was understood fairly broadly that the electric industry was interdependent on the natural gas industry
But what was largely ignored was that the interdependency went both ways
  It was both explicit and “creepy”
    Creep is created from a series of small decisions – decisions that individually do not rise to be systemic issues on their own, but when 100’s and 1000’s of these decisions are made, a syst6emic issue is created
Revenue insufficiency makes it worse

## Slide 16
The Texas grid failure was a material contributor to the $2-300 billion+ economic harm and human tragedy
The “Energy Only” ERCOT model focuses on price and largely ignores reliability issues
  Revenue insufficiency (failure to economically support) creates underinvestment in reliability ranging from firm fuel supply and services to capital investment
  What people don’t want to hear: The lack of winterization investment was a rational decision due to revenue insufficiency from market design and its market signals Concern: it was widely known but ignored…
  The risks and impacts of intermittency were “modelled away”, with tragic results
    When the system is stressed, intermittency becomes a bigger challenge to reliability & resilience
  Failure to fix the root causes of the problem will result in increased frequency and duration of events similar to those experienced from Winter Storms Uri and Viola
  ERCOT is challenged by its cost centric culture resulting in a run to failure outcome
High level findings
Notes: $2-300 billion in damage from the storms
  Texas electric grid was a material contributor to the economic harm
ERCOT problems
  Focused on price and not reliability
  Revenue insufficiency from energy only market design is a root cause of the problem
    Decisions by generators to NOT invest in weatherization was rational
  Risks of intermittency (non-firm power supply) was modelled away
    Solar contribution to winter peak – reality check
  The problem will get worse even if the weather remains the same
    More frequent
    More severe
    Longer
  ERCOT has a culture challenge

## Slide 17
A majority of the gas supply failures were experienced by generators that relied on interruptible gas supply or transportation
  If one buys interruptible supply and or transportation - what do you expect during peak demand?
This does NOT excuse the failures of the natural gas industry
A lack of winterization by producers and midstream companies
ill-fated decision to have critical facilities curtailed for lower rates or failure to file as a critical loads (CLF).
While pricing during the pandemic demanded radical spending curtailment, the future of the industry’s markets, from LNG exports to electrical generation require reliable production - practices must change.
Reliability can be substantially improved at relatively modest cost
  A preliminary estimate of ~5% increase in prices to provide revenue sufficiency to dispatchable generation to operate with reliability and resilience
  High risk from indirect transfer of “energy only” model and revenue insufficiency challenges onto the natural gas system
    No free rides: If you want firm supply and transport – you have to pay for it
High level findings continued
Notes: A natural gas consumer buys two services: 1) transportation and 2) supply
Both can be bought on a firm or on an interruptible basis
  Firm costs more
  A majority of electric generators in Texas relied on either interruptible transportation or interruptible supply or both
    If you are buying “interruptible” supply or transport why would you be surprised when you’re interrupted during an extreme weather event?
None of this is an excuse for the natural gas industry
winterization of production facilities
Curtailment for cheaper rates or failure to file CLF
Arrange contracts to interrupt LNG, for an agreed upon price, for needle peak needs
It causes great concern if the electric industry expects the Gas industry to subsidize higher quality service to the electric industry – this would result in deteriorating the gas industry reliability

## Slide 18
Invest in Black Start generation to ensure reliable and resilient fail-safe back-up power.
Restructure regulatory flaws negatively impacting dispatchable generation reliability.
Mitigate growing interdependency between infrastructure sectors.
Prioritize reliability and resiliency focused regulations and eliminate regulations that include the unintended consequences of creating negative reliability or resiliency impacts.
Replace process and model biases and the reliability-sacrificing pursuit of short-term price reductions with a reliability and resilience prioritized culture.
Top 5 Network Issues & Recommended Actions
Notes: A natural gas consumer buys two services: 1) transportation and 2) supply
Both can be bought on a firm or on an interruptible basis
  Firm costs more
  A majority of electric generators in Texas relied on either interruptible transportation or interruptible supply or both
    If you are buying “interruptible” supply or transport why would you be surprised when you’re interrupted during an extreme weather event?
None of this is an excuse for the natural gas industry
winterization of production facilities
Curtailment for cheaper rates or failure to file CLF
Arrange contracts to interrupt LNG, for an agreed upon price, for needle peak needs
It causes great concern if the electric industry expects the Gas industry to subsidize higher quality service to the electric industry – this would result in deteriorating the gas industry reliability

## Slide 19
What did we learn during this event that applies to YOU?
The performance of physical infrastructure
We must become more sophisticated in our understanding of how infrastructure fits into a larger ecosystem
  Think beyond the Physical
    The rules and regulations – especially if they are under change
    The markets and the infrastructure ecosystem - people and processes
Infrastructure is becoming driven by political rather than technical – we ignore this at our peril
  The electric system was “…designed by science and engineers and is now being restructured by political scientists…”
  Traditional information sources are increasingly parochial, and agenda driven
  We must hold to our ethical and professional standards – Must give the message that needs to be heard, NOT the message that wants to be heard
We allow our expertise in one Sector to inform our views on other sectors, BEFORE understanding them.
  Stunning lack of understanding about the areas between sectors – especially interdependence issues
In evaluating problems
Keep asking Why? - FERC/NERC stopped at details on interruptible fuel supply – failed the “why” this condition existed
Demand different perspectives and inputs – get better results
Lessons
Notes: A natural gas consumer buys two services: 1) transportation and 2) supply
Both can be bought on a firm or on an interruptible basis
  Firm costs more
  A majority of electric generators in Texas relied on either interruptible transportation or interruptible supply or both
    If you are buying “interruptible” supply or transport why would you be surprised when you’re interrupted during an extreme weather event?
None of this is an excuse for the natural gas industry
winterization of production facilities
Curtailment for cheaper rates or failure to file CLF
Arrange contracts to interrupt LNG, for an agreed upon price, for needle peak needs
It causes great concern if the electric industry expects the Gas industry to subsidize higher quality service to the electric industry – this would result in deteriorating the gas industry reliability

## Slide 20
Top Sector Issues & Recommended Actions
Telecommunications
Improved hardening of site telecom facilities and infrastructure for weather extremes
Consider expanded redundancy of select infrastructure
Education and outreach to interdependent infrastructure.
Transportation
Greater preparedness for weather extremes
Consider updates to Emergency Operations plans
Education and outreach.
Water, wastewater & stormwater
Improved operational preparation for severe weather events.
Mitigate infrastructure interdependence risks.
Educational outreach
Enhanced planning to reduce risk.
Electricity
Improve market incentives for reliability and resilience with focus on winterization and dependable fuel supply
Rationalize load shed
Active market simulation
Evaluate grid interconnectivity for emergency demand sharing
Ensure Black start generation is able to perform with top decile performance with fuel optionality
Energy
Review and apply cold temp process protection in field production sites. Install heat trace & insulate at key valve locations
Prioritize OPS as essential loads and prevent joining curtailment incentives
Ensure revenue sufficiency and that capacity gas market does not subsidize energy only electric market
Develop contractual arrangement with LNG for temporary peak access
Ensure PPE and equipment to access remote sites in severe weather
Notes: A natural gas consumer buys two services: 1) transportation and 2) supply
Both can be bought on a firm or on an interruptible basis
  Firm costs more
  A majority of electric generators in Texas relied on either interruptible transportation or interruptible supply or both
    If you are buying “interruptible” supply or transport why would you be surprised when you’re interrupted during an extreme weather event?
None of this is an excuse for the natural gas industry
winterization of production facilities
Curtailment for cheaper rates or failure to file CLF
Arrange contracts to interrupt LNG, for an agreed upon price, for needle peak needs
It causes great concern if the electric industry expects the Gas industry to subsidize higher quality service to the electric industry – this would result in deteriorating the gas industry reliability

## Slide 21
Invest in Black Start generation to ensure reliable and resilient fail-safe back-up power. > Public Utilities Commission working with ERCOT and industry to address.
Restructure regulatory flaws negatively impacting dispatchable generation reliability.
  > Public Utilities Commission soliciting support of consultant to offer options.
Mitigate growing interdependency between infrastructure sectors.
  > PUCT/ERCOT and Texas Railroad Commission worked together during 2022 Storms.
Prioritize reliability and resiliency focused regulations and eliminate regulations that include the unintended consequences of creating negative reliability or resiliency impacts. > PUCT seeking technical support for options to address, from consultant.
Replace process and model biases and the reliability-sacrificing pursuit of short-term price reductions with a reliability and resilience prioritized culture.
  > Under active consideration by PUCT and ERCOT.
Actions undertaken by Texas Legislature and Governing Commissions under SB 3
Based on information gleaned from March 9, 2022 meeting of
Business and Commerce Committee.

## Slide 22
Questions and Comments ?